## Summary
item # | Ref | Description | Pads -use by date | Battery Installation Date | Battery Max Change Date | Accessory Pack | Address 1 | Address 2 | Post Code | Location | Google grid |  | What 3 Words | Cabinet
LCC1 | (21)X15D752373 | Public (disused) red phone-box | 9th Dec 2025 | 2022-05-01 | 2027-05-01 | Present | Upper Road | Llandevaud | NP18 2AF | Opposite Corner of Chapel Lane | 51.6086 | -2.8658 | ///hushed.buns.excavate | Unlocked and uncoded ("C" and turn knob Rt & Pull)
LCC2 | (21)X17j966285 | Pillar wall outside reception | 9th Dec 2025 | 2022-05-01 | 2027-05-01 | Present | Celtic Manor Hotels | Coldra Court Hotel | NP18 2LX | Turn right towards reception in grounds |  |  | ///poems.hails.pulse | Unlocked and uncoded ("C" and turn knob Rt & Pull)
LCC3 | (21)X15D752335 | External wall | 9th Dec 2025 | 2022-05-01 | 2027-05-01 | Present | New Inn Pub/Hotel | Chepstow Road | NP18 2JN | between Motel reception & Pub |  |  | ///beginning.busters.geek | Unlocked and uncoded ("C" and turn knob Rt & Pull). Window obscured
LCC4 | (21)X17J966193 | External wall | 9th Dec 2025 | 2025-02-01 | 1930-02-01 | Present | Old Barn Inn | Magor Road | NP18 2EB | Directly outside reception |  |  | ///rattler.spoils.hiked | Unlocked and uncoded ("C" and turn knob Rt & Pull)
Note on A1: Rob Lewis: This asset ID hasn’t bneen offficialy used in The Link
Note on E2: Rob Lewis: As per FB post by Rhys Williams 28 Nov 2024. He had been in contact with LCC Clerk at the time
Note on E3: Rob Lewis: As per e-mail from Phil Hill confirming he had changed all batteries in all devices during his time managing devices.
Note on E4: Rob Lewis: As per e-mail from Phil Hill confirming he had changed all batteries in all devices during his time managing devices.

## Inspections
item # | Ref | Description |  |  | Postcode | What 3 Words |  |  |  |  | If map is not shown full size - click on the cell containing map - brings up a small icon to top and right click on that to expand the map
LCC1 | (21)X15D752373 | Public (disused) red phone-box Upper Road Llandevaud |  |  | NP18 2AF | ///hushed.buns.excavate |  |  |  | MAP
Date | Status @Inspection (Self Tests) | Manual Check Test | Pads @Inspection Expiry | Pads Expiry if replaced | Bateries Changed? | Battery Expiry | Accessory Kit | Emergency Deployment? | Inspected By
2024-12-09 | OK | OK | 2024-08-23 | 2025-12-09 | No | 2027-05-01 | Present | None identified | R.Lewis
2025-02-27 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None identified | R.Lewis
2025-05-16 | OK | OK | 2025-12-09 | N/A | No | 2027-05-01 | Present | None identified | R.Lewis
2025-08-10 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None Identified | R.Lewis
2025-11-02 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None Identified | B.Newport
item # | Ref | Description | Postcode | What 3 Words
LCC2 | (21)X17j966285 | Pillar wall outside reception Celtic Manor Hotels Coldra Court Hotel | NP18 2LX | ///poems.hails.pulse | NP18 2LX | ///poems.hails.pulse |  |  |  | MAP
Date | Status @Inspection (Self Tests) | Manual Check Test | Pads @Inspection Expiry | Pads Expiry if replaced | Bateries Changed? | Battery Expiry | Accessory Kit | Emergency Deployment? | Inspected By
2024-12-09 | OK | OK | 2024-08-23 | 2025-12-09 | No | 2027-05-01 | Present | None identified | R.Lewis
2025-02-27 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None identified | R.Lewis
2025-05-16 | OK | OK | 2025-12-09 | N/A | No | 2027-05-01 | Present | None identified | R.Lewis
2025-08-10 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None Identified | R.Lewis
2025-11-02 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None Identified | B.Newport
item # | Ref | Description | Postcode | What 3 Words
LCC3 | (21)X15D752335 | External wall New Inn Pub/Hotel Chepstow Road | NP18 2JN | ///beginning.busters.geek | NP18 2JN | ///beginning.busters.geek |  |  |  | MAP
Date | Status @Inspection (Self Tests) | Manual Check Test | Pads @Inspection Expiry | Pads Expiry if replaced | Bateries Changed? | Battery Expiry | Accessory Kit | Emergency Deployment? | Inspected By
2024-12-09 | OK | OK | 2024-08-23 | 2025-12-09 | No | 2027-05-01 | Present | None identified | R.Lewis
2025-02-27 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None identified | R.Lewis
2025-05-16 | OK | OK | 2025-12-09 | N/A | No | 2027-05-01 | Present | None identified | R.Lewis
2025-08-10 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None Identified | R.Lewis
2025-11-02 | OK | N/A | 2025-12-09 | N/A | No | 2027-05-01 | Present | None Identified | B.Newport
item # | Ref | Description | Postcode | What 3 Words
LCC4 | (21)X17J966193 | External wall Old Barn Inn Magor Road | NP18 2EB | ///rattler.spoils.hiked | NP18 2EB | ///rattler.spoils.hiked |  |  |  | MAP
Date | Status @Inspection (Self Tests) | Manual Check Test | Pads @Inspection Expiry | Pads Expiry if replaced | Bateries Changed? | Battery Expiry | Accessory Kit | Emergency Deployment? | Inspected By
2024-12-09 | OK | OK | 2024-08-23 | 2025-12-09 | No | 2027-05-01 | Present | None identified | R.Lewis
2025-02-16 | FAULT -Battery | NO | 2025-12-09 | pads ok | Removed | n/a | Present | e-mail -warn deployed | R.Lewis
2025-02-22 | OK | OK | 2025-12-09 | N/A | Yes | 1930-02-01 | Present | Circuit updated | R.Lewis
2025-05-16 | OK | OK | 2025-12-09 | N/A | No | 1930-02-01 | (Not noted) | None identified | R.Lewis
2025-08-10 | OK | N/A | 2025-12-09 | N/A | No | 1930-02-01 | Present | None Identified | R.Lewis
2025-11-02 | OK | N/A | 2025-12-09 | N/A | No | 1930-02-01 | Present | None Identified | B.Newport
Formulas:
Pads @Inspection Expiry = [Pads Expiry if replaced, row above]
Pads @Inspection Expiry = [Pads @Inspection Expiry, row above]
What 3 Words = [What 3 Words, row above]

## Guardian Page
LINK TO "THE CIRCUIT" homepage |  | https://www.thecircuit.uk/
The Circuit – the national defibrillator network provides a national overview of where defibrillators can be found.
At the moment, many defibrillators never get used because emergency services don’t know where they are or how to access them. This can cost lives and that’s why this new infrastructure is so vital.
If the diagram is not showing full size , click on the cell and then click on the icon that appears to top and right of it top make full size
CHANGING PADS
CHANGING BATTERIES | If the diagram is not showing full size , click on the cell and then click on the icon that appears to top and right of it top make full size